## Options
Option# | Descriptions | Answer | Unit | Note
1 | Coil loop MRI frequency, fMRI |  | MHz
2 | Built-in On-Board capacitor (Cc) to resonant with coil loop |  | N/A | Yes/No If choose Yes, 2 sample coil loops are needed to fine tune the feed board(s). They will be shipped back along with the finished feed board(s).
3 | On-Board coil loop detune diode (Dc) |  | N/A | Dc is needed if Tx Power is > 60 dBm
4 | Customer's Tx power |  | dBm
5 | Unloaded coil loop impedance at fMRI |  | Ohm
6 | Loaded coil loop impedance at fMRI (Zc) |  | Ohm
7 | Detune signal polarity |  | N/A | Positive/Negative
8 | +10V DC power supplied through preamp output port (J3) |  | N/A | Yes/No
9 | +10V DC power supplied through a separate port (J2) |  | N/A | Yes/No
10 | Output In-Line amplifier needed? |  | N/A | Yes/No
11 | Output cable trap needed? |  | N/A | Yes/No
12 | 2 Separate boards connected with a cable in-between |  | N/A | Board #1 has Cc, Dc, coilone network and balun Board #2 has preamp and associated protection circuitry
13 | Mounting Holes |  | N/A
* Need more customization? Contact sales@coil1.com